## Master ACC Compatibility Chart
|  |  | FLUKE CONNECT | METER HANGERS | TEST LEADS | [9 empty] | TEST LEAD KITS | [11 empty] | TEMPERATURE | [12 empty] | AC CLAMP-ON CURRENT PROBES | [10 empty] | AC/DC CLAMP-ON CURRENT PROBES | [5 empty] | SOFT CASES | [18 empty] | HARD CASES | [8 empty] | BACKPACKS | LEATHER CASES |  | HOLSTERS
Product Family | Product Type | Product | IR3000 FC | ToolPak (TPAK) | TL175 | TL26A | TL40 | TL71 | TL75 | TL76 | TL221 | TL222 | TL224 | TL910 | TL27 | TL80A | TL81A | TL220 | TL223 | TL225 | TL238 | TLK-220 | TLK-225 | TLK287 | TLK289 | TLS430 | 80AK-A | 80BK-A | All 80PK Probes | 80PJ-1/80PJ-9 | 80PT-25 | 80TK | 80T-150UA | 80PJ-EXT | 80PK-EXT | 80PT-EXT | 80CK-M | 80CJ-M | 80PR-60 | i5s | i200 | i200s | i400 | i400s | i800 | i1000s | i3000s | i2000 FLEX *** | i3000s FLEX | i6000s FLEX | 80i-110s | i410 | i1010 | i30 | i30s | i310s | C23 | C25 | CAMO-C25 | C33 | C35 | CAMO-C37 | C43 | C50 | C60 | C75 | C90 | C115 | C116 | C150 | C280 | C345 | C550 | C781 | C789 | C20 | C100 | C101 | CXT80 | CXT170 | CXT280 | CXT1000 | C800 | C1600 | FlukePack30 | C510 | C520A | C10 | H80M | H3 | H5 | H-T6 | H6 | H15
DMMS | Digital Multimeter | 179 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | 2 |  |  |  | x |  | 2 |  | 2 |  |  |  | 3 A to 200 A | 1 A to 200 A | 3 A to 400 A | 1 A to 400 A* | 3 A to 800 A | 0.3 A to 1000 A* | 3 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.11 A to 100 A dc / 0.3 A to 70 A ac* | 1.6 A to 400 A dc / 30 A to 400 A ac | 1.6 A to 1000 A dc / 30 A to 600 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 0.1 A to 450 A dc / 3 A to 300 A ac |  | x | x |  | x |  |  |  | x | For multiple test leads and accessories | x | x | x |  | x | For multiple meters, test leads and accessories | For multiple meters, test leads and accessories |  |  |  | x | x |  | x |  | For multiple meters, accessories and other tools | x | For multiple meters, accessories and other tools | For multiple meters, accessories and other tools | x
DMMS | Digital Multimeter | 233 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | 2 |  |  |  | x |  | 2 |  | 2 |  |  |  | 60 A to 200 A | 1 A to 200 A | 60 A to 400 A | 0.6 A to 400 A* | 60 A to 800 A | 0.6 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1.4 A to 400 A dc / 6 A to 400 A ac | 1.4 A to 1000 A dc / 6 A to 600 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 0.1 A to 450 A dc / 0.6 A to 300 A ac | x | x | x |  | x |  | x |  | x |  | x | x | x |  | x | [6 empty] | x | x |  |  |  | x
DMMS | Digital Multimeter | 114/116 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | 116 | 116 | 3 |  |  | x | x |  | 1 |  | 1 |  |  |  |  | 1 A to 200 A |  | 0.6 A to 400 A* |  | 0.6 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1.4 A to 400 A dc / 6 A to 400 A ac | 1.4 A to 1000 A dc / 6 A to 600 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 0.1 A to 450 A dc / 0.6 A to 300 A ac | x | x | x |  | x |  |  | x | x |  |  | x | x |  | x | [8 empty] | x
DMMS | Digital Multimeter | 115/117 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [6 empty] | x | x |  | 1 |  | 1 |  |  |  | 60 A to 200 A | 1 A to 200 A | 60 A to 400 A | 0.6 A to 400 A* | 60 A to 800 A | 0.6 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1.4 A to 400 A dc / 6 A to 400 A ac | 1.4 A to 1000 A dc / 6 A to 600 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 0.1 A to 450 A dc / 0.6 A to 300 A ac | x | x | x |  | x |  |  | x | x |  |  | x | x |  | x | [8 empty] | x
DMMS | Digital Multimeter | 175/177 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 |  |  |  |  | 1 A to 200 A | 3 A to 400 A | 1 A to 400 A* | 3 A to 800 A | 0.3 A to 1000 A* | 3 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.11 A to 100 A dc / 0.3 A to 70 A ac* | 1.6 A to 400 A dc / 30 A to 400 A ac | 1.6 A to 1000 A dc / 30 A to 600 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 0.1 A to 450 A dc / 3 A to 300 A ac |  | x | x |  | x |  |  |  | x |  | x | x | x |  | x | [5 empty] | x | x |  | x |  |  | x |  |  | x
DMMS | Digital Multimeter | 27 II |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 2 |  |  | x | x |  | 2 |  | 2 |  |  |  | 2 A to 200 A | 1 A to 200 A | 2 A to 400 A | 1 A to 400 A* | 2 A to 800 A | 0.1 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1 A to 400 A dc / 1 A to 400 A ac | 1 A to 1000 A dc / 1 A to 600 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 0.1 A to 450 A dc / 0.1 A to 300 A ac |  | x | x |  | x | [6 empty] | x | x |  | x |  |  |  |  | x | x | x |  |  | x
DMMS | Digital Multimeter | 28 II |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | 2 |  |  |  | x |  | 2 |  | 2 |  |  |  | 1.8 A to 200 A | 1 A to 200 A | 1.8 A to 400 A | 1.8 A to 400 A | 1.8 A to 800 A | 0.2 A to 1000 A* | 2 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.2 A to 70 A ac* | 1 A to 400 A dc / 6 A to 400 A ac | 1 A to 1000 A dc / 6 A to 600 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 0.1 A to 450 A dc / 2 A to 300 A ac |  | x | x |  | x | [6 empty] | x | x |  | x |  |  |  |  | x | x | x |  |  | x
DMMS | Digital Multimeter | 287/289 | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | 2 |  |  |  | x |  | 2 |  | 2 |  |  |  | 1 A to 200 A | 1 A to 200 A | 1 A to 400 A | 0.5 A to 400 A* | 1 A to 800 A | 0.2 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1 A to 400 A dc / 1 A to 400 A ac | 1 A to 1000 A dc / 1 A to 600 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 0.1 A to 450 A dc / 0.1 A to 300 A ac | [6 empty] | x | [5 empty] | x |  | x |  |  | x |  |  |  | x |  |  | x
DMMS | Digital Multimeter | 77-IV |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 |  |  |  | 1 A to 200 A | 1 A to 200 A |  | 1 A to 400 A* |  | 0.1 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1 A to 400 A dc / 5 A to 400 A ac | 1 A to 1000 A dc / 5 A to 600 A ac | 30 mA to 30 A dc / 40 mA to 20 A ac | 30 mA to 30 A dc / 40 mA to 20 A ac | 0.1 A to 450 A dc / 0.4 A to 300 A ac | x | x | x | x | x | x |  |  | x |  | x | x | x | x | x | [8 empty] | x |  |  | x
DMMS | Digital Multimeter | 83V |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 |  |  |  | 2 A to 200 A | 1 A to 200 A | 2 A to 400 A | 1 A to 400 A* | 2 A to 800 A | 0.1 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1 A to 400 A dc / 1 A to 400 A ac | 1 A to 1000 A dc / 1 A to 600 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 0.1 A to 450 A dc / 0.1 A to 300 A ac |  | x | x |  | x |  |  |  | x |  |  | x | x |  | x | [5 empty] | x | x | x |  |  |  | x | [5 empty] | x
DMMS | Digital Multimeter | 87V |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | 2 |  |  |  | x |  | 2 |  | 2 |  |  |  | 2 A to 200 A | 1 A to 200 A | 2 A to 400 A | 2 A to 400 A* | 2 A to 800 A | 0.2 A to 1000 A* | 2 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.2 A to 70 A ac* | 1 A to 400 A dc / 20 A to 400 A ac | 1 A to 1000 A dc / 20 A to 600 A ac | 30 mA to 30 A dc / 200 mA to 20 A ac | 30 mA to 30 A dc / 200 mA to 20 A ac | 0.1 A to 450 A dc / 2 A to 300 A ac |  | x | x |  | x |  |  |  | x |  |  | x | x |  | x | [5 empty] | x | x | x |  |  |  | x | [5 empty] | x
DMMS | Digital Multimeter | 88V |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 2 |  |  |  | x |  | 2 |  | 2 |  |  |  | 2 A to 200 A | 1 A to 200 A | 2 A to 400 A | 1 A to 400 A* | 2 A to 800 A | 0.1 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1 A to 400 A dc / 1 A to 400 A ac | 1 A to 1000 A dc / 1 A to 600 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 30 mA to 30 A dc / 30 mA to 20 A ac | 0.1 A to 450 A dc / 0.1 A to 300 A ac |  | x | x |  | x |  |  |  | x |  |  | x | x |  | x | [5 empty] | x | x | x |  |  |  | x | [5 empty] | x
DMMS | Digital Multimeter | 3000 FC |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 2 |  |  | x | x |  | 2 |  | 2 |  |  |  | 3 A to 200 A | 1 A to 200 A | 3 A to 400 A | 3 A to 400 A* | 3 A to 400 A | 0.3 A to 1000 A* | 3 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.11 A to 100 A dc / 0.3 A to 70 A ac* | 1.6 A to 400 A dc / 30 A to 400 A ac | 1.6 A to 1000 A dc / 30 A to 600 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 0.1 A to 450 A dc / 3 A to 300 A ac |  | x | x | [5 empty] | x |  | x | [12 empty] | x
DMMS | Thermal Multimeter | 279 FC |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 |  |  |  |  | 1 A to 200 A |  | 0.6 A to 400 A* |  | 0.6 A to 1000 A* | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac* | 1.4 A to 400 A dc / 6 A to 400 A ac | 1.4 A to 1000 A dc / 6 A to 600 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 30 mA to 30 A dc / 60 mA to 20 A ac | 0.1 A to 450 A dc / 0.6 A to 300 A ac |  | x | x |  | x | [6 empty] | x | x |  | x |  |  |  |  | x | x | x | x
EPROD | Clamp Meter | 365 |  |  | x | x | x | x | x | x | x | x | x | x | [47 empty] | x
EPROD | Clamp Meter | 902/902 FC |  |  | x | x | x | x | x | x | x | x | x | x | [12 empty] | x | x | x | [5 empty] | x | [24 empty] | x |  | x | [7 empty] | x | [7 empty] | x | [11 empty] | x
EPROD | Insulation Tester | 1503/1507 |  | x | x | x | x | x | x | x | x | x | x | x | [43 empty] | x | x |  | x |  |  |  | x |  |  | x | x |  | x |  |  | x |  |  |  | x |  | x | [5 empty] | x
EPROD | Insulation Multimeter | 1577 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x |  | 2 |  |  | x | x |  | 1 |  | 1 |  |  |  | 3 A to 200 A | 1 A to 200 A | 3 A to 400 A | 3 A to 400 A* | 3 A to 400 A | 0.3 A to 1000 A* | 3 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.3 A to 70 A ac* | 1.2 A to 400 A dc / 30 A to 400 A ac | 1.2 A to 1000 A dc / 30 A to 600 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 0.1 A to 450 A dc / 3 A to 300 A ac |  | x | x |  | x |  |  |  | x |  |  | x | x |  | x |  |  | x |  |  |  | x |  | x | [5 empty] | x
EPROD | Insulation Multimeter | 1587/1587 FC |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | 2 | [5 empty] | 2 |  | 2 |  |  |  | 3 A to 200 A | 1 A to 200 A | 3 A to 400 A | 3 A to 400 A* | 3 A to 400 A | 0.3 A to 1000 A* | 3 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.3 A to 70 A ac* | 1.2 A to 400 A dc / 30 A to 400 A ac | 1.2 A to 1000 A dc / 30 A to 600 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 30 mA to 30 A dc / 300 mA to 20 A ac | 0.1 A to 450 A dc / 3 A to 300 A ac |  | x | x |  | x |  |  |  | x |  |  | x | x |  | x |  |  | x |  |  |  | x |  | x | [5 empty] | x
EPROD | Clamp Meter | 323/324/325 |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [31 empty] | x | x | x | x |  | x |  |  | x |  |  |  |  | x | [7 empty] | x | [11 empty] | x
EPROD | Clamp Meter | 353/355 | [60 empty] | x
EPROD | Clamp Meter | 370 Series/FC/381 |  | 370 FC Series | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [34 empty] | x |  | x |  |  | x |  |  |  |  | x | [7 empty] | x | [11 empty] | x
EPROD | Phase Indicator | 9040/9062 | [55 empty] | x | x | [18 empty] | x
EPROD | Electrical Tester | T5/T+/T+Pro | [57 empty] | x |  | x |  |  | x |  |  |  |  | x | [7 empty] | x | [8 empty] | x |  |  |  | x |  |  | T+/T+Pro
EPROD | Electrical Tester | T6 |  | x | [60 empty] | x |  |  |  |  | x | [7 empty] | x | [8 empty] | x |  |  |  |  | x
EPROD | Voltage Tester | T90/T110/T130/T150 | [67 empty] | x | [22 empty] | x | x
FPQ | Power Quality Logger | 1740 Series
FPQ | Power Quality Analyzer | 430 Series | [23 empty] | x
FPQ | Power Quality Analyzer | 434/435 II | [37 empty] | 10 mA to 6 A |  | 1 A to 200 A |  | 1.2 A to 400 A |  | 0.3 A to 1000 A | 1.2 A to 3000 A | i430Flex-TF-II | i430Flex-TF-II
FPQ | Power Quality Analyzer | 43B |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 |  |  |  |  | 1 A to 200 A |  | 0.35 A to 400 A |  | 0.1 A to 1000 A | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | [10 empty] | x |  | x |  | x |  |  | x | x |  | x |  |  | x | x
IAD | Airflow Meter | 922 | [54 empty] | x | x | x |  | x | [5 empty] | x | [21 empty] | x
IAD | Temp/Humidity Meter | 971 | [54 empty] | x | x | x | [18 empty] | x
PTOOL | Calibrator | 714 | [26 empty] | x | x | x |  |  | x | x | x | x | x | [19 empty] | x | x |  | x |  |  |  | x |  |  | x | x |  | x | [5 empty] | x | x | x | x |  |  | x |  |  | x |  |  | x
PTOOL | Calibrator | 715 |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 | [13 empty] | 0.1 A to 100 A dc, no ac* | 1 A to 400 A dc, no ac | 4 A to 1000 A dc, no ac | 40 mA to 30 A dc, no ac | 40 mA to 30 A dc, no ac | 0.1 A to 450 A dc, no ac |  | x | x |  | x |  |  |  | x |  |  | x | x |  | x | [5 empty] | x | x | x | x |  |  | x |  |  | x |  |  | x
PTOOL | Calibrator | 718 |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [35 empty] | x |  | x |  |  |  |  | x | x |  | x |  |  | x | x |  |  | x
PTOOL | Calibrator | 724 |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  |  | x | x |  |  |  | x |  | x | x | [19 empty] | x | x |  |  |  | x |  | x |  |  | x | x |  | x |  |  | x |  |  |  | x | x | [6 empty] | x
PTOOL | Loop Calibrator | 705/707 |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [9 empty] | 1 |  | 1 | [13 empty] | 0.1 A to 100 A dc, no ac* | 4 A to 400 A dc, no ac | 4 A to 1000 A dc, no ac | 40 mA to 30 A dc, no ac | 40 mA to 30 A dc, no ac | 0.4 A to 450 A dc, no ac |  |  |  |  | x |  |  |  | x |  |  | x | x |  | x | [6 empty] | x | [9 empty] | x
PTOOL | RTD Calibrator | 712 |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [32 empty] | x | x |  | x |  |  |  | x |  |  | x | x |  | x | [5 empty] | x | x | x | x |  |  | x |  |  | x |  |  | x
PTOOL | Pressure Calibrator | 717 |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | [32 empty] | x | x |  | x |  |  |  | x |  |  | x | x |  | x | [5 empty] | x | x | x | x |  |  | x |  |  | x |  |  | x
PTOOL | Process Calibrator | 725/726 |  |  | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x | x | x |  |  | x | x | x | x | x | [19 empty] | x | x |  |  |  | x |  |  |  |  | x | x |  | x |  |  | x |  |  |  | x | x | [6 empty] | x
PTOOL | ProcessMeter | 787/789 | 789 | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 |  |  |  | 50 A to 200 A | 1 A to 200 A | 50 A to 400 A | 2 A to 400 A* | 50 A o 440 A | 0.2 A to 1000 A* | 2 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.2 A to 70 A ac* | 1 A to 400 A dc / 20 A to 400 A ac | 1 A to 1000 A dc / 20 A to 600 A ac | 30 mA to 30 A dc / 200 mA to 20 A ac | 3 mA to 30 A dc / 200 mA to 20 A ac | 0.1 A to 450 A dc / 2 A to 300 A ac |  | x | x | 787 | x | 787 |  |  | x |  |  | x | x |  | x |  |  | x | x |  | 787 | x | x | x | x |  | 787 |  |  | x |  |  | 787
SCM | ScopeMeter | 190 Series II | [12 empty] | x | x | x | x | x | x | x | x | x | x | x |  |  |  | 1 |  |  | x | x |  | 1 |  | 1 |  |  |  |  | 1 A to 200 A |  | 1 A to 400 A |  | 0.1 A to 1000 A | 1 A to 3000 A | 2 A to 2000 A | 3 A to 3000 A | 6 A to 6000 A | 0.1 A to 100 A dc / 0.1 A to 70 A ac | 1 A to 400 A dc / 5 A to 400 A ac** | 1 A to 1000 A dc / 5 A to 600 A ac** | 30 mA to 30 A dc / 50 mA to 20 A ac** | 30 mA to 30 A dc / 50 mA to 20 A ac | 0.1 A to 450 A dc / 0.5 A to 300 A ac
TEMP | IR Thermometer | 61 | [54 empty] | x
TEMP | IR Thermometer | 561 | [26 empty] | x | [5 empty] | x |  | x | [55 empty] | x
TEMP | Thermometer | 51/52/53/54 II |  | x | [24 empty] | x | x | x |  |  | x | x | x | x | x | [19 empty] | x | x |  | x |  |  | x | x |  |  | x | x |  | x | [6 empty] | x |  | x | [5 empty] | x
TEMP | IR Thermometer | 63/66/68 | [36 empty] | 66/68 | [38 empty] | x
TI | Visual IR Thermometer | VT02/VT04/VT04A | [64 empty] | x
x = Compatible
* = Requires PM9081 Adapter
** = Requires PM9082 Adapter
*** = Three range version
1 = Requires 80TK
2 = Requires 80AK-A
3 = 116 only & requires 80AK-A